## User Guide
Bridgelux® Product Simulator
User Guide
What does it do?
Use this tool to select the most suitable Bridgelux® Dim to Warm Array for an application. You can choose the array based on either the DRIVE CURRENT you want to use or the CCT OUTPUT you require.
What products are supported?
This tool will help you select Bridgelux® Dim to Warm products
How do I use the Product Simulator?
1. Enter basic information about your application in Section 1 of the Simulator
· Select the required CCT Range and CRI from the drop down menu:
· Enter the operating Case Temperature in degrees Celsius:
2. If you are designing to a fixed DRIVE CURRENT go to Section 2 and enter the required drive
currents of warm and cool channels
· The Simulator will show product options for Dim to Warm Products
3. If you are designing to meet a required CCT target, use Section 3 of the Simulator and
enter required CCT in Kelvin:
· The Simulator will show product options and required drive currents for Gen. 8 Vero and V Series products
· The Simulator will show product options for Dim to Warm products
Note: typical lumen tested under pulsed condition (10ms pulse width) at nominal test current where Tj (junction temperature) = Tc (case temperature) = 25°C
How do I read the Part Number?
For product nomenclature refer to product datasheets.
As an example, the part number designation for Bridgelux Gen. 8 Vero LED arrays is explained as follows:
BXRC – AB - CDEFG – HIJK – L-MN
Where:
BXRV – Designates product family
AB – Designates the nominal type and shape of the product DR = Dim to Warm White Round
CDEF – Designates nominal CCT tuning range, 1830 = 1800K - 3000K
G – Designates minimum CRI; G = 90 typical
HIJK – Designates typical lumen values and DP configuration, for example, 06A0 indicates 600 lumens and DP technology
L – Designates Voltage configuration
MN- Designates the Generation and SDCM range
13 = 1st Gen, 3 SDCM
Disclaimer
Please note that the Product Simulator is solely intended to help ease your selection of Bridgelux LED array products based upon your selection of attribute options for each of the criteria provided in the Product Simulator. The Product Simulator is NOT intended as a design tool for luminaire or fixture products nor intended for the selection of LED array products to be used as a component in a particular luminaire or fixture application. Bridgelux disclaims all liability for the results of any product selection through the use of the Product Simulator.
1. Calculated values in the Product Simulator are measured under stabilized direct current conditions to more accurately represent the COB performance in a typical fixture application. Please refer to the appropriate COB Datasheet and Product Selection Guide for pulsed measurement specifications.

## Simulator
Bridgelux Dim-to-Warm Product Simulator
Rev 1
2021-12-31
| Enter color range/CRI and temperature values: | [12 empty] | Section 1
[5 empty] | Color Temperature Range and CRI: | 1800K-2700K, 90 CRI |  |  | 1827G
[5 empty] | Case Temperature (°C): | 25
Case
| Lumen and CCT Output at Required Drive Current | [9 empty] | Section 2
| Calculate lumens for selected drive current | [8 empty] | Enter WARM WHITE Current in mA: | 250
Vesta Series Dim-to-Warm
| Product LES | Part Number | Config | CCT | Current (mA) | Voltage (V) | Power (W) | Lumen DC @ Case = 25°C | Efficacy DC @ Case = 25°C | Min. Lumen DC @ Case = 25°C | Dim Current (mA) | Nominal Current (mA) | Max Drive Current (mA)
6mm-1827GA | 6mm | BXRV-DR-1827G-0600-A-13 | A | 2600 | 250 | 16.126 | 4.0315 | 421.585 | 104.5729 | 379.4265 | 14 | 350 | 420
9mm-1827GG | 9mm | BXRV-DR-1827G-1000-G-13 | G | 2700 | 250 | 17 | 4.25 | 438.0107 | 103.0613 | 394.2097 | 14 | 250 | 300
9mm-1827GA | 9mm | BXRV-DR-1827G-1000-A-13 | A | 2600 | 250 | 16.126 | 4.0315 | 411.5317 | 102.0792 | 370.3786 | 14 | 350 | 420
9mm-1827GB | 9mm | BXRV-DR-1827G-1000-B-13 | B | 2600 | 250 | 32.8046 | 8.2011 | 835.3259 | 101.8547 | 751.7933 | 14 | 350 | 420
13mm-1827GA | 13mm | BXRV-DR-1827G-2000-A-13 | A | 2450 | 250 | 31.6397 | 7.9099 | 789.6754 | 99.8335 | 710.7078 | 20 | 600 | 720
15mm-1827GA | 15mm | BXRV-DR-1827G-3000-A-13 | A | 2150 | 250 | 31.2762 | 7.8191 | 741.3016 | 94.8071 | 667.1715 | 20 | 950 | 1050
18mm-1827GA | 18mm | BXRV-DR-1827G-4000-A-13 | A | 2100 | 250 | 31.3366 | 7.8341 | 811.7547 | 103.6176 | 730.5792 | 20 | 1290 | 1400
29mm-1827GA | 29mm | BXRV-DR-1827G-10K0-A-13 | A | 1950 | 250 | 40.8889 | 10.2222 | 1142.5318 | 111.7693 | 1028.2786 | 40 | 2350 | 2500
| Product LES | Part Number | Config | CCT | Current (mA) | Voltage (V) | Power (W) | Lumen DC @ Case = 25°C | Efficacy DC @ Case = 25°C | Min. Lumen DC @ Case = 25°C | Dim Current (mA) | Nominal Current (mA) | Max Drive Current (mA)
Vesta-SE 6mm-1827GA | Vesta-SE 6mm | BXRV-DR-1827G-0600-A-13-SE | A | 2600 | 250 | 16.126 | 4.0315 | 400.5058 | 99.3443 | 360.4552 | 14 | 350 | 420
Vesta-SE 9mm-1827GG | Vesta-SE 9mm | BXRV-DR-1827G-1000-G-13-SE | G | 2700 | 250 | 17 | 4.25 | 416.1102 | 97.9083 | 374.4992 | 14 | 250 | 300
Vesta-SE 9mm-1827GA | Vesta-SE 9mm | BXRV-DR-1827G-1000-A-13-SE | A | 2600 | 250 | 16.126 | 4.0315 | 390.9552 | 96.9753 | 351.8596 | 14 | 350 | 420
Vesta-SE 9mm-1827GB | Vesta-SE 9mm | BXRV-DR-1827G-1000-B-13-SE | B | 2600 | 250 | 32.8046 | 8.2011 | 793.5596 | 96.762 | 714.2036 | 14 | 350 | 420
Vesta-SE 13mm-1827GA | Vesta-SE 13mm | BXRV-DR-1827G-2000-A-13-SE | A | 2450 | 250 | 31.6397 | 7.9099 | 758.0884 | 95.8401 | 682.2795 | 20 | 600 | 720
Vesta-SE 15mm-1827GA | Vesta-SE 15mm | BXRV-DR-1827G-3000-A-13-SE | A | 2150 | 250 | 31.2762 | 7.8191 | 711.6496 | 91.0148 | 640.4846 | 20 | 950 | 1050
Vesta-SE 18mm-1827GA | Vesta-SE 18mm | BXRV-DR-1827G-4000-A-13-SE | A | 2100 | 250 | 31.3366 | 7.8341 | 779.2845 | 99.4729 | 701.3561 | 20 | 1290 | 1400
Vesta-SE 29mm-1827GA | Vesta-SE 29mm | BXRV-DR-1827G-10K0-A-13-SE | A | 1950 | 250 | 40.8889 | 10.2222 | 1096.8305 | 107.2986 | 987.1475 | 40 | 2350 | 2500
| Current Output for Given CCT Requirement | [9 empty] | Section 3
| Calculate lumens for selected drive current | [8 empty] | Enter CCT requirement in Kelvin | 2700
Vesta Series Dim-to-Warm
| Product LES | Part Number | Config | CCT | Current (mA) | Voltage (V) | Power (W) | Lumen DC @ Case = 25°C | Efficacy DC @ Case = 25°C | Min. Lumen DC @ Case = 25°C | Dim Current (mA) | Nominal Current (mA) | Max Drive Current (mA)
6mm-1827GA | 6mm | BXRV-DR-1827G-0600-A-13 | A | 2700 | 350 | 17 | 5.95 | 626.998 | 105.3778 | 564.2982 | 14 | 350 | 420
9mm-1827GG | 9mm | BXRV-DR-1827G-1000-G-13 | G | 2700 | 250 | 17 | 4.25 | 438.0107 | 103.0613 | 394.2097 | 14 | 250 | 300
9mm-1827GA | 9mm | BXRV-DR-1827G-1000-A-13 | A | 2700 | 350 | 17 | 5.95 | 612.9524 | 103.0172 | 551.6571 | 14 | 350 | 420
9mm-1827GB | 9mm | BXRV-DR-1827G-1000-B-13 | B | 2700 | 350 | 33.8 | 11.83 | 1241.6693 | 104.9594 | 1117.5023 | 14 | 350 | 420
13mm-1827GA | 13mm | BXRV-DR-1827G-2000-A-13 | A | 2700 | 600 | 33.5045 | 20.1027 | 2111.2572 | 105.0234 | 1900.1315 | 20 | 600 | 720
15mm-1827GA | 15mm | BXRV-DR-1827G-3000-A-13 | A | 2700 | 950 | 34.111 | 32.4055 | 3401.1784 | 104.9569 | 3061.0606 | 20 | 950 | 1050
18mm-1827GA | 18mm | BXRV-DR-1827G-4000-A-13 | A | 2700 | 1290 | 34.5125 | 44.5212 | 5018.9634 | 112.732 | 4517.067 | 20 | 1290 | 1400
29mm-1827GA | 29mm | BXRV-DR-1827G-10K0-A-13 | A | 2700 | 2350 | 46.5085 | 109.295 | 12836.2343 | 117.4458 | 11552.6108 | 40 | 2350 | 2500
Vesta-SE 6mm-1827GA | Vesta-SE 6mm | BXRV-DR-1827G-0600-A-13-SE | A | 2700 | 350 | 17 | 5.95 | 595.6481 | 100.1089 | 536.0833 | 14 | 350 | 420
Vesta-SE 9mm-1827GG | Vesta-SE 9mm | BXRV-DR-1827G-1000-G-13-SE | G | 2700 | 250 | 17 | 4.25 | 416.1102 | 97.9083 | 374.4992 | 14 | 250 | 300
Vesta-SE 9mm-1827GA | Vesta-SE 9mm | BXRV-DR-1827G-1000-A-13-SE | A | 2700 | 350 | 17 | 5.95 | 582.3047 | 97.8663 | 524.0743 | 14 | 350 | 420
Vesta-SE 9mm-1827GB | Vesta-SE 9mm | BXRV-DR-1827G-1000-B-13-SE | B | 2700 | 350 | 33.8 | 11.83 | 1179.5858 | 99.7114 | 1061.6272 | 14 | 350 | 420
Vesta-SE 13mm-1827GA | Vesta-SE 13mm | BXRV-DR-1827G-2000-A-13-SE | A | 2700 | 600 | 33.5045 | 20.1027 | 2026.8069 | 100.8225 | 1824.1262 | 20 | 600 | 720
Vesta-SE 15mm-1827GA | Vesta-SE 15mm | BXRV-DR-1827G-3000-A-13-SE | A | 2700 | 950 | 34.111 | 32.4055 | 3265.1313 | 100.7586 | 2938.6182 | 20 | 950 | 1050
Vesta-SE 18mm-1827GA | Vesta-SE 18mm | BXRV-DR-1827G-4000-A-13-SE | A | 2700 | 1290 | 34.5125 | 44.5212 | 4818.2048 | 108.2228 | 4336.3843 | 20 | 1290 | 1400
Vesta-SE 29mm-1827GA | Vesta-SE 29mm | BXRV-DR-1827G-10K0-A-13-SE | A | 2700 | 2350 | 46.5085 | 109.295 | 12322.7849 | 112.7479 | 11090.5064 | 40 | 2350 | 2500
Calculated values in the Product Simulator are measured under stabilized direct current conditions to more accurately represent the COB performance at typical application. DC vs. Pulse conditions will produce differing performance measurements. Please refer to the appropriate COB Datasheet and Production Selection Guides for pulsed measurement specifications.
PPF and photon efficiency values are only available for Tc=25°C and Tc=85°C .

## Calculations (hidden)
Inputs |  | Current | 250 | Tc | 25 |  | Dim | 1827G | 2700 | 2600.1
|  | CCT | 2700 |  |  |  | Nominal
| Current Calculations | [23 empty] | Under 75% Nominal | [6 empty] | Over 75% Nominal
| Nominal Flux - Warm White | I^4 | I^3 | I^2 | I | I0 | Flux | T^4 | T^3 | T^2 | T | T0 | Temp | FxT | Nominal Voltage | V^4 | V^3 | V^2 | V | V0 | V | dV@T | V |  | Typical Current | CCT^4 | CCT^3 | CCT^2 | CCT^1 | CCT^0 | CCT | CCT^4 | CCT^3 | CCT^2 | CCT^1 | CCT^0 | CCT | CCT
6mm-A | 627 | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 0.67238 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 1 | 421.585 | 17 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 16.126 | 0 | 16.126 |  | 350 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 2622.0005 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 0 | 2622.0005
9mm-G | 438 | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 1 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 1 | 438.0107 | 17 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 17 | 0 | 17 |  | 250 | 0 | 3.1014e-05 | -0.030559 | 9.818 | 1669.3 | 0 | 0 | 0 | 0.00053973 | 0.5937 | 2517.8 | 2699.9581 | 2699.9581
9mm-A | 613 | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0.67134 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 1 | 411.5317 | 17 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 16.126 | 0 | 16.126 |  | 350 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 2622.0005 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 0 | 2622.0005
9mm-B | 1242 | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0.67257 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 1 | 835.3259 | 33.8 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 32.8046 | 0 | 32.8046 |  | 350 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 2622.0005 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 0 | 2622.0005
13mm-A | 2111 | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 0.37408 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | 1 | 789.6754 | 33.5 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | 31.6397 | 0 | 31.6397 |  | 600 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 2458.6043 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 0 | 2458.6043
15mm-A | 3401 | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 0.21797 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 1 | 741.3016 | 34.1 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 31.2762 | 0 | 31.2762 |  | 950 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 2163.6868 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 0 | 2163.6868
18mm-A | 5019 | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0.16174 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 1 | 811.7547 | 33.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 31.3366 | 0 | 31.3366 |  | 1290 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 2091.6812 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 0 | 2091.6812
29mm-A | 12836 | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 0.08901 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 1 | 1142.5318 | 45.6 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | 40.8889 | 0 | 40.8889 |  | 2350 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 1974.5983 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 0 | 1974.5983
Vesta-SE 6mm-A | 595.65 | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 0.67238 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 1 | 400.5058 | 17 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 16.126 | 0 | 16.126 |  | 350 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 2622.0005 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 0 | 2622.0005
Vesta-SE 9mm-G | 416.1 | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 1 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 1 | 416.1102 | 17 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 17 | 0 | 17 |  | 250 | 0 | 3.1014e-05 | -0.030559 | 9.818 | 1669.3 | 0 | 0 | 0 | 0.00053973 | 0.5937 | 2517.8 | 2699.9581 | 2699.9581
Vesta-SE 9mm-A | 582.35 | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0.67134 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 1 | 390.9552 | 17 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 16.126 | 0 | 16.126 |  | 350 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 2622.0005 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 0 | 2622.0005
Vesta-SE 9mm-B | 1179.9 | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0.67257 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 1 | 793.5596 | 33.8 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 32.8046 | 0 | 32.8046 |  | 350 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 2622.0005 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 0 | 2622.0005
Vesta-SE 13mm-A | 2026.56 | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 0.37408 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | 1 | 758.0884 | 33.5 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | 31.6397 | 0 | 31.6397 |  | 600 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 2458.6043 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 0 | 2458.6043
Vesta-SE 15mm-A | 3264.96 | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 0.21797 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 1 | 711.6496 | 34.1 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 31.2762 | 0 | 31.2762 |  | 950 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 2163.6868 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 0 | 2163.6868
Vesta-SE 18mm-A | 4818.24 | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0.16174 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 1 | 779.2845 | 33.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 31.3366 | 0 | 31.3366 |  | 1290 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 2091.6812 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 0 | 2091.6812
Vesta-SE 29mm-A | 12322.56 | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 0.08901 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 1 | 1096.8305 | 45.6 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | 40.8889 | 0 | 40.8889 |  | 2350 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 1974.5983 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 0 | 1974.5983
| CCT Calculations | Under 2900 | [5 empty] | Over 2900
|  | K^4 | K^3 | K^2 | K^1 | K^0 | Current | K^4 | K^3 | K^2 | K^1 | K^0 | Current | Current | V^4 | V^3 | V^2 | V | V0 | V | dV@T | V |  | I^4 | I^3 | I^2 | I | I0 | LOP | Lumens@T
6mm-A | 627 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 0 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 350.0096 | 350 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 17 | 0 | 17 |  | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 1 | 626.998
9mm-G | 438 | 0 | 3.359e-07 | -0.0020495 | 4.2827 | -3013.7 | 0 | 0 | 0 | -0.0008389 | 5.6903 | -8998.3 | 249.929 | 250 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 17 | 0 | 17 |  | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 1 | 438.0107
9mm-A | 613 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 0 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 350.0096 | 350 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 17 | 0 | 17 |  | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0.99992 | 612.9524
9mm-B | 1242 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 0 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 350.0096 | 350 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 33.8 | 0 | 33.8 |  | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0.99973 | 1241.6693
13mm-A | 2111 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 0 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 600.081 | 600 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | 33.5045 | 0 | 33.5045 |  | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 1.0001 | 2111.2572
15mm-A | 3401 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 0 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 950.0495 | 950 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 34.111 | 0 | 34.111 |  | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 1.0001 | 3401.1784
18mm-A | 5019 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 0 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 1288.1387 | 1290 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 34.5125 | 0 | 34.5125 |  | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0.99999 | 5018.9634
29mm-A | 12836 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 0 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 2350.0497 | 2350 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | 46.5085 | 0 | 46.5085 |  | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 1 | 12836.2343
Vesta-SE 6mm-A | 595.65 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 0 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 350.0096 | 350 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 17 | 0 | 17 |  | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 1 | 595.6481
Vesta-SE 9mm-G | 416.1 | 0 | 3.359e-07 | -0.0020495 | 4.2827 | -3013.7 | 0 | 0 | 0 | -0.0008389 | 5.6903 | -8998.3 | 249.929 | 250 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 17 | 0 | 17 |  | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 1 | 416.1102
Vesta-SE 9mm-A | 582.35 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 0 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 350.0096 | 350 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 17 | 0 | 17 |  | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0.99992 | 582.3047
Vesta-SE 9mm-B | 1179.9 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 0 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 350.0096 | 350 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 33.8 | 0 | 33.8 |  | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0.99973 | 1179.5858
Vesta-SE 13mm-A | 2026.56 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 0 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 600.081 | 600 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | 33.5045 | 0 | 33.5045 |  | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 1.0001 | 2026.8069
Vesta-SE 15mm-A | 3264.96 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 0 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 950.0495 | 950 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 34.111 | 0 | 34.111 |  | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 1.0001 | 3265.1313
Vesta-SE 18mm-A | 4818.24 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 0 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 1288.1387 | 1290 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 34.5125 | 0 | 34.5125 |  | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0.99999 | 4818.2048
Vesta-SE 29mm-A | 12322.56 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 0 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 2350.0497 | 2350 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | 46.5085 | 0 | 46.5085 |  | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 1 | 12322.7849

## Master Table - Current Input (hidden)
Master Table
[12 empty] | Typical Values |  |  |  | Voltage v Current |  |  |  |  | LOP v Current |  |  |  |  | Temperature Vs Flux |  |  |  |  | CCT vs Current up to 75% |  |  |  |  | CCT vs Current over 75% |  |  |  |  | Current Vs CCT (lower table)
LES-Type | Product Family | Tunable White Array | Nominal CCT+CRI | Lumen Family | Generation | Tech | PF+CCT+Tech | P/N | MinCurrent | Typical Current | Max Current | Typical Lumens | Typical Efficacy | Typical Voltage | dV/dT (mV/C) | V^4 | V^3 | V^2 | V | V0 | I^4 | I^3 | I^2 | I | I0 | T^4 | T^3 | T^2 | T | T0 | CCT^4 | CCT^3 | CCT^2 | CCT^1 | CCT^0 | CCT^42 | CCT^32 | CCT^22 | CCT^12 | CCT^02 | K^4 | K^3 | K^2 | K^1 | K^0 | K^42 | K^32 | K^22 | K^12 | K^02
6mm | BXRV | DR | 1827G | 0600 | A | A | 6mm-1827GA | BXRV-DR-1827G-0600-A-13 | 14 | 350 | 420 | 627 | 105.3782 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
6mm | BXRV | DR | - | 0600 | A | A | 6mm--A | BXRV-DR---0600-A-13 | 14 | 350 | 420 | - | #VALUE! | - | - | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
6mm | BXRV | DR | 1830G | 0600 | A | A | 6mm-1830GA | BXRV-DR-1830G-0600-A-13 | 14 | 350 | 420 | 660 | 110.9244 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 1.2811e-12 | -9.7037e-09 | 7.6849e-06 | 0.0012921 | 0.0031612 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
6mm | BXRV | DR | - | 0600 | A | A | 6mm--A | BXRV-DR---0600-A-13 | 14 | 350 | 420 | - | #VALUE! |  | - | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 1.2811e-12 | -9.7037e-09 | 7.6849e-06 | 0.0012921 | 0.0031612 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
Vesta-SE 6mm | BXRV | DR | 1827G | 0600 | A | A | Vesta-SE 6mm-1827GA | BXRV-DR-1827G-0600-A-13-SE | 14 | 350 | 420 | 595.65 | 100.1092 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
Vesta-SE 6mm | BXRV | DR | - | 0600 | A | A | Vesta-SE 6mm--A | BXRV-DR---0600-A-13-SE | 14 | 350 | 420 | - | #VALUE! | - | - | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.5527e-12 | -1.1223e-08 | 7.745e-06 | 0.001404 | 0.0027144 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
Vesta-SE 6mm | BXRV | DR | 1830G | 0600 | A | A | Vesta-SE 6mm-1830GA | BXRV-DR-1830G-0600-A-13-SE | 14 | 350 | 420 | 627 | 105.3782 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 1.2811e-12 | -9.7037e-09 | 7.6849e-06 | 0.0012921 | 0.0031612 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
Vesta-SE 6mm | BXRV | DR | - | 0600 | A | A | Vesta-SE 6mm--A | BXRV-DR---0600-A-13-SE | 14 | 350 | 420 | - | #VALUE! |  | - | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 1.2811e-12 | -9.7037e-09 | 7.6849e-06 | 0.0012921 | 0.0031612 | 0 | -2.3577e-08 | 2.2657e-08 | -0.0010053 | 1.0255 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
9mm | BXRV | DR | 1827G | 1000 | G | G | 9mm-1827GG | BXRV-DR-1827G-1000-G-13 | 14 | 250 | 300 | 438 | 103.0588 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 3.1014e-05 | -0.030559 | 9.818 | 1669.3 | 0 | 0 | 0.00053973 | 0.5937 | 2517.8 | 0 | 3.359e-07 | -0.0020495 | 4.2827 | -3013.7 | 0 | 0 | -0.0008389 | 5.6903 | -8998.3
9mm | BXRV | DR | 1827H | 1000 | G | G | 9mm-1827HG | BXRV-DR-1827H-1000-G-13 | 14 | 250 | 300 | 353 | 83.0588 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 3.1014e-05 | -0.030559 | 9.818 | 1669.3 | 0 | 0 | 0.00053973 | 0.5937 | 2517.8 | 0 | 3.359e-07 | -0.0020495 | 4.2827 | -3013.7 | 0 | 0 | -0.0008389 | 5.6903 | -8998.3
9mm | BXRV | DR | 1830G | 1000 | G | G | 9mm-1830GG | BXRV-DR-1830G-1000-G-13 | 14 | 250 | 300 | 489 | 115.0588 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 0 | -2.3758e-08 | 1.3481e-05 | 0.0021145 | 0 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 4.1352e-05 | -0.040746 | 13.091 | 1625.7 | 0 | 0 | 0.00071964 | 0.7916 | 2757.1 | 0 | 1.4171e-07 | -0.00089777 | 1.9816 | -1470.9 | 0 | 0 | -0.00047188 | 3.7015 | -6607.5
9mm | BXRV | DR | 1830H | 1000 | G | G | 9mm-1830HG | BXRV-DR-1830H-1000-G-13 | 14 | 250 | 300 | 421 | 99.0588 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 0 | -2.3758e-08 | 1.3481e-05 | 0.0021145 | 0 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 4.1352e-05 | -0.040746 | 13.091 | 1625.7 | 0 | 0 | 0.00071964 | 0.7916 | 2757.1 | 0 | 1.4171e-07 | -0.00089777 | 1.9816 | -1470.9 | 0 | 0 | -0.00047188 | 3.7015 | -6607.5
Vesta-SE 9mm | BXRV | DR | 1827G | 1000 | G | G | Vesta-SE 9mm-1827GG | BXRV-DR-1827G-1000-G-13-SE | 14 | 250 | 300 | 416.1 | 97.9059 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 3.1014e-05 | -0.030559 | 9.818 | 1669.3 | 0 | 0 | 0.00053973 | 0.5937 | 2517.8 | 0 | 3.359e-07 | -0.0020495 | 4.2827 | -3013.7 | 0 | 0 | -0.0008389 | 5.6903 | -8998.3
Vesta-SE 9mm | BXRV | DR | 1827H | 1000 | G | G | Vesta-SE 9mm-1827HG | BXRV-DR-1827H-1000-G-13-SE | 14 | 250 | 300 | 335.35 | 78.9059 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | -1.505e-12 | -2.2722e-08 | 1.3244e-05 | 0.0021345 | -0.00045144 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 3.1014e-05 | -0.030559 | 9.818 | 1669.3 | 0 | 0 | 0.00053973 | 0.5937 | 2517.8 | 0 | 3.359e-07 | -0.0020495 | 4.2827 | -3013.7 | 0 | 0 | -0.0008389 | 5.6903 | -8998.3
Vesta-SE 9mm | BXRV | DR | 1830G | 1000 | G | G | Vesta-SE 9mm-1830GG | BXRV-DR-1830G-1000-G-13-SE | 14 | 250 | 300 | 464.55 | 109.3059 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 0 | -2.3758e-08 | 1.3481e-05 | 0.0021145 | 0 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 4.1352e-05 | -0.040746 | 13.091 | 1625.7 | 0 | 0 | 0.00071964 | 0.7916 | 2757.1 | 0 | 1.4171e-07 | -0.00089777 | 1.9816 | -1470.9 | 0 | 0 | -0.00047188 | 3.7015 | -6607.5
Vesta-SE 9mm | BXRV | DR | 1830H | 1000 | G | G | Vesta-SE 9mm-1830HG | BXRV-DR-1830H-1000-G-13-SE | 14 | 250 | 300 | 399.95 | 94.1059 | 17 | -6.1 | -3.0168e-09 | 2.3342e-06 | -0.00066636 | 0.095928 | 9.9774 | 0 | -2.3758e-08 | 1.3481e-05 | 0.0021145 | 0 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 0 | 4.1352e-05 | -0.040746 | 13.091 | 1625.7 | 0 | 0 | 0.00071964 | 0.7916 | 2757.1 | 0 | 1.4171e-07 | -0.00089777 | 1.9816 | -1470.9 | 0 | 0 | -0.00047188 | 3.7015 | -6607.5
9mm | BXRV | DR | 1827G | 1000 | A | A | 9mm-1827GA | BXRV-DR-1827G-1000-A-13 | 14 | 350 | 420 | 613 | 103.0252 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
9mm | BXRV | DR | 1827H | 1000 | A | A | 9mm-1827HA | BXRV-DR-1827H-1000-A-13 | 14 | 350 | 420 | 494 | 83.0252 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
9mm | BXRV | DR | 1830G | 1000 | A | A | 9mm-1830GA | BXRV-DR-1830G-1000-A-13 | 14 | 350 | 420 | 684 | 114.958 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.7713e-12 | -1.2247e-08 | 8.3413e-06 | 0.0013089 | 0.0034663 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
9mm | BXRV | DR | 1830H | 1000 | A | A | 9mm-1830HA | BXRV-DR-1830H-1000-A-13 | 14 | 350 | 420 | 570 | 95.7983 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.7713e-12 | -1.2247e-08 | 8.3413e-06 | 0.0013089 | 0.0034663 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
Vesta-SE 9mm | BXRV | DR | 1827G | 1000 | A | A | Vesta-SE 9mm-1827GA | BXRV-DR-1827G-1000-A-13-SE | 14 | 350 | 420 | 582.35 | 97.8739 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
Vesta-SE 9mm | BXRV | DR | 1827H | 1000 | A | A | Vesta-SE 9mm-1827HA | BXRV-DR-1827H-1000-A-13-SE | 14 | 350 | 420 | 469.3 | 78.8739 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.0563e-12 | -1.1547e-08 | 8.113e-06 | 0.0013364 | 0.002572 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
Vesta-SE 9mm | BXRV | DR | 1830G | 1000 | A | A | Vesta-SE 9mm-1830GA | BXRV-DR-1830G-1000-A-13-SE | 14 | 350 | 420 | 649.8 | 109.2101 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.7713e-12 | -1.2247e-08 | 8.3413e-06 | 0.0013089 | 0.0034663 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
Vesta-SE 9mm | BXRV | DR | 1830H | 1000 | A | A | Vesta-SE 9mm-1830HA | BXRV-DR-1830H-1000-A-13-SE | 14 | 350 | 420 | 541.5 | 91.0084 | 17 | -6.1 | -8.3769e-10 | 8.9385e-07 | -0.00034919 | 0.067662 | 10.3404 | 2.7713e-12 | -1.2247e-08 | 8.3413e-06 | 0.0013089 | 0.0034663 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
9mm | BXRV | DR | 1827G | 1000 | B | B | 9mm-1827GB | BXRV-DR-1827G-1000-B-13 | 14 | 350 | 420 | 1242 | 104.9873 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
9mm | BXRV | DR | 1827H | 1000 | B | B | 9mm-1827HB | BXRV-DR-1827H-1000-B-13 | 14 | 350 | 420 | 982 | 83.0093 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
9mm | BXRV | DR | 1830G | 1000 | B | B | 9mm-1830GB | BXRV-DR-1830G-1000-B-13 | 14 | 350 | 420 | 1360 | 114.962 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 9.7719e-12 | -1.9235e-08 | 1.0653e-05 | 0.0010299 | 0.012223 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
9mm | BXRV | DR | 1830H | 1000 | B | B | 9mm-1830HB | BXRV-DR-1830H-1000-B-13 | 14 | 350 | 420 | 1150 | 97.2105 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 9.7719e-12 | -1.9235e-08 | 1.0653e-05 | 0.0010299 | 0.012223 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
Vesta-SE 9mm | BXRV | DR | 1827G | 1000 | B | B | Vesta-SE 9mm-1827GB | BXRV-DR-1827G-1000-B-13-SE | 14 | 350 | 420 | 1179.9 | 99.738 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
Vesta-SE 9mm | BXRV | DR | 1827H | 1000 | B | B | Vesta-SE 9mm-1827HB | BXRV-DR-1827H-1000-B-13-SE | 14 | 350 | 420 | 932.9 | 78.8588 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 7.0453e-12 | -1.6568e-08 | 9.7826e-06 | 0.0011347 | 0.0088121 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 6.4157e-08 | -4.5362e-05 | 0.0013882 | 5.106 | 1716.8925 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641 | 1.809e-09 | -1.5301e-05 | 0.048307 | -67.2467 | 34789.641
Vesta-SE 9mm | BXRV | DR | 1830G | 1000 | B | B | Vesta-SE 9mm-1830GB | BXRV-DR-1830G-1000-B-13-SE | 14 | 350 | 420 | 1292 | 109.2139 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 9.7719e-12 | -1.9235e-08 | 1.0653e-05 | 0.0010299 | 0.012223 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
Vesta-SE 9mm | BXRV | DR | 1830H | 1000 | B | B | Vesta-SE 9mm-1830HB | BXRV-DR-1830H-1000-B-13-SE | 14 | 350 | 420 | 1092.5 | 92.35 | 33.8 | -12.1 | -1.0263e-09 | 1.0987e-06 | -0.00043082 | 0.082959 | 25.8324 | 9.7719e-12 | -1.9235e-08 | 1.0653e-05 | 0.0010299 | 0.012223 | 0 | -2.4075e-08 | -5.8938e-08 | -0.00099307 | 1.0252 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 8.5543e-08 | -6.0482e-05 | 0.001851 | 6.808 | 1689.19 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737 | 5.8608e-10 | -5.2118e-06 | 0.01725 | -25.0173 | 13399.6737
13mm | BXRV | DR | 1827G | 2000 | A | A | 13mm-1827GA | BXRV-DR-1827G-2000-A-13 | 20 | 600 | 720 | 2111 | 105.0249 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847
13mm | BXRV | DR | 1827H | 2000 | A | A | 13mm-1827HA | BXRV-DR-1827H-2000-A-13 | 20 | 600 | 720 | 1668 | 82.9851 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847
13mm | BXRV | DR | 1830G | 2000 | A | A | 13mm-1830GA | BXRV-DR-1830G-2000-A-13 | 20 | 600 | 720 | 2312 | 115.0249 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -3.5147e-14 | -1.0946e-09 | 1.4379e-06 | 0.0012064 | -0.00046921 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271
13mm | BXRV | DR | 1830H | 2000 | A | A | 13mm-1830HA | BXRV-DR-1830H-2000-A-13 | 20 | 600 | 720 | 2028 | 100.8955 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -3.5147e-14 | -1.0946e-09 | 1.4379e-06 | 0.0012064 | -0.00046921 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271
Vesta-SE 13mm | BXRV | DR | 1827G | 2000 | A | A | Vesta-SE 13mm-1827GA | BXRV-DR-1827G-2000-A-13-SE | 20 | 600 | 720 | 2026.56 | 100.8239 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847
Vesta-SE 13mm | BXRV | DR | 1827H | 2000 | A | A | Vesta-SE 13mm-1827HA | BXRV-DR-1827H-2000-A-13-SE | 20 | 600 | 720 | 1601.28 | 79.6657 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -2.422e-13 | -7.425e-10 | 1.2355e-06 | 0.0012505 | -0.0032333 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | -3.7005e-09 | 1.0114e-05 | -0.010418 | 5.0771 | 1696.8931 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847 | 3.8234e-09 | -3.2603e-05 | 0.10394 | -146.5191 | 76977.847
Vesta-SE 13mm | BXRV | DR | 1830G | 2000 | A | A | Vesta-SE 13mm-1830GA | BXRV-DR-1830G-2000-A-13-SE | 20 | 600 | 720 | 2219.52 | 110.4239 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -3.5147e-14 | -1.0946e-09 | 1.4379e-06 | 0.0012064 | -0.00046921 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271
Vesta-SE 13mm | BXRV | DR | 1830H | 2000 | A | A | Vesta-SE 13mm-1830HA | BXRV-DR-1830H-2000-A-13-SE | 20 | 600 | 720 | 1946.88 | 96.8597 | 33.5 | -12.1 | -1.247e-10 | 2.2734e-07 | -0.00015056 | 0.047939 | 26.0002 | -3.5147e-14 | -1.0946e-09 | 1.4379e-06 | 0.0012064 | -0.00046921 | 0 | 3.6387e-09 | -4.3617e-06 | -0.0011443 | 1.0313 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | -4.934e-09 | 1.3485e-05 | -0.013891 | 6.7695 | 1662.5242 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271 | 1.2329e-09 | -1.1071e-05 | 0.037102 | -54.7419 | 29970.9271
15mm | BXRV | DR | 1827G | 3000 | A | A | 15mm-1827GA | BXRV-DR-1827G-3000-A-13 | 20 | 950 | 1050 | 3401 | 104.9853 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644
15mm | BXRV | DR | 1827H | 3000 | A | A | 15mm-1827HA | BXRV-DR-1827H-3000-A-13 | 20 | 950 | 1050 | 2689 | 83.0066 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644
15mm | BXRV | DR | 1830G | 3000 | A | A | 15mm-1830GA | BXRV-DR-1830G-3000-A-13 | 20 | 950 | 1050 | 3725 | 114.9869 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 5.7649e-15 | -4.2283e-10 | 7.6175e-07 | 0.00070524 | 0.00035965 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748
15mm | BXRV | DR | 1830H | 3000 | A | A | 15mm-1830HA | BXRV-DR-1830H-3000-A-13 | 20 | 950 | 1050 | 3300 | 101.8676 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 5.7649e-15 | -4.2283e-10 | 7.6175e-07 | 0.00070524 | 0.00035965 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748
Vesta-SE 15mm | BXRV | DR | 1827G | 3000 | A | A | Vesta-SE 15mm-1827GA | BXRV-DR-1827G-3000-A-13-SE | 20 | 950 | 1050 | 3264.96 | 100.7859 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644
Vesta-SE 15mm | BXRV | DR | 1827H | 3000 | A | A | Vesta-SE 15mm-1827HA | BXRV-DR-1827H-3000-A-13-SE | 20 | 950 | 1050 | 2581.44 | 79.6864 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | -1.9231e-14 | -3.6052e-10 | 7.0901e-07 | 0.00072224 | -0.0011997 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 2.4011e-09 | -4.827e-06 | 0.0019416 | 1.4377 | 1748.9599 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644 | 1.9008e-09 | -1.445e-05 | 0.040375 | -48.3422 | 20537.4644
Vesta-SE 15mm | BXRV | DR | 1830G | 3000 | A | A | Vesta-SE 15mm-1830GA | BXRV-DR-1830G-3000-A-13-SE | 20 | 950 | 1050 | 3576 | 110.3874 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 5.7649e-15 | -4.2283e-10 | 7.6175e-07 | 0.00070524 | 0.00035965 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748
Vesta-SE 15mm | BXRV | DR | 1830H | 3000 | A | A | Vesta-SE 15mm-1830HA | BXRV-DR-1830H-3000-A-13-SE | 20 | 950 | 1050 | 3168 | 97.7929 | 34.1 | -15 | -3.5423e-11 | 9.4331e-08 | -9.0062e-05 | 0.039712 | 25.6417 | 5.7649e-15 | -4.2283e-10 | 7.6175e-07 | 0.00070524 | 0.00035965 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 3.2015e-09 | -6.436e-06 | 0.0025888 | 1.9169 | 1731.9465 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748 | 6.1295e-10 | -4.7587e-06 | 0.013399 | -15.6073 | 6018.8748
18mm | BXRV | DR | 1827G | 4000 | A | A | 18mm-1827GA | BXRV-DR-1827G-4000-A-13 | 20 | 1290 | 1400 | 5019 | 115.1094 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054
18mm | BXRV | DR | 1827H | 4000 | A | A | 18mm-1827HA | BXRV-DR-1827H-4000-A-13 | 20 | 1290 | 1400 | 3937 | 90.294 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054
18mm | BXRV | DR | 1830G | 4000 | A | A | 18mm-1830GA | BXRV-DR-1830G-4000-A-13 | 20 | 1290 | 1400 | 5247 | 120.3385 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | -8.4108e-16 | -1.3534e-10 | 3.328e-07 | 0.00057304 | -0.00015677 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81
18mm | BXRV | DR | 1830H | 4000 | A | A | 18mm-1830HA | BXRV-DR-1830H-4000-A-13 | 20 | 1290 | 1400 | 4709 | 107.9996 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | -8.4108e-16 | -1.3534e-10 | 3.328e-07 | 0.00057304 | -0.00015677 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81
Vesta-SE 18mm | BXRV | DR | 1827G | 4000 | A | A | Vesta-SE 18mm-1827GA | BXRV-DR-1827G-4000-A-13-SE | 20 | 1290 | 1400 | 4818.24 | 110.505 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054
Vesta-SE 18mm | BXRV | DR | 1827H | 4000 | A | A | Vesta-SE 18mm-1827HA | BXRV-DR-1827H-4000-A-13-SE | 20 | 1290 | 1400 | 3779.52 | 86.6823 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | 1.2103e-15 | -1.4221e-10 | 3.4053e-07 | 0.00056978 | 0.00022559 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4154e-10 | -1.6481e-06 | 0.00066509 | 1.2234 | 1767.5068 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054 | 6.4401e-09 | -5.4034e-05 | 0.16916 | -233.3762 | 119549.4054
Vesta-SE 18mm | BXRV | DR | 1830G | 4000 | A | A | Vesta-SE 18mm-1830GA | BXRV-DR-1830G-4000-A-13-SE | 20 | 1290 | 1400 | 5037.12 | 115.525 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | -8.4108e-16 | -1.3534e-10 | 3.328e-07 | 0.00057304 | -0.00015677 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81
Vesta-SE 18mm | BXRV | DR | 1830H | 4000 | A | A | Vesta-SE 18mm-1830HA | BXRV-DR-1830H-4000-A-13-SE | 20 | 1290 | 1400 | 4520.64 | 103.6796 | 33.8 | -12.8 | -1.3921e-11 | 4.824e-08 | -5.9078e-05 | 0.032199 | 26.2797 | -8.4108e-16 | -1.3534e-10 | 3.328e-07 | 0.00057304 | -0.00015677 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 8.5539e-10 | -2.1975e-06 | 0.00088678 | 1.6312 | 1756.6757 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81 | 2.0377e-09 | -1.7905e-05 | 0.05852 | -83.7094 | 44124.81
29mm | BXRV | DR | 1827G | 10K0 | A | A | 29mm-1827GA | BXRV-DR-1827G-10K0-A-13 | 40 | 2350 | 2500 | 12836 | 119.7835 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074
29mm | BXRV | DR | 1827H | 10K0 | A | A | 29mm-1827HA | BXRV-DR-1827H-10K0-A-13 | 40 | 2350 | 2500 | 9568 | 89.287 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074
29mm | BXRV | DR | 1830G | 10K0 | A | A | 29mm-1830GA | BXRV-DR-1830G-10K0-A-13 | 40 | 2350 | 2500 | 13360 | 124.6734 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -7.4867e-16 | -1.9461e-11 | 8.6422e-08 | 0.00034011 | -0.0010915 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936
29mm | BXRV | DR | 1830H | 10K0 | A | A | 29mm-1830HA | BXRV-DR-1830H-10K0-A-13 | 40 | 2350 | 2500 | 11949 | 111.5062 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -7.4867e-16 | -1.9461e-11 | 8.6422e-08 | 0.00034011 | -0.0010915 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936
Vesta-SE 29mm | BXRV | DR | 1827G | 10K0 | A | A | Vesta-SE 29mm-1827GA | BXRV-DR-1827G-10K0-A-13-SE | 40 | 2350 | 2500 | 12322.56 | 114.9922 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074
Vesta-SE 29mm | BXRV | DR | 1827H | 10K0 | A | A | Vesta-SE 29mm-1827HA | BXRV-DR-1827H-10K0-A-13-SE | 40 | 2350 | 2500 | 9185.28 | 85.7156 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -3.6009e-16 | -2.1788e-11 | 9.1072e-08 | 0.00033674 | -0.000525 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 3.0777e-11 | -9.3189e-08 | -0.0001902 | 0.96518 | 1746.5278 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074 | 7.7051e-09 | -6.0641e-05 | 0.17662 | -224.0415 | 103853.0074
Vesta-SE 29mm | BXRV | DR | 1830G | 10K0 | A | A | Vesta-SE 29mm-1830GA | BXRV-DR-1830G-10K0-A-13-SE | 40 | 2350 | 2500 | 12825.6 | 119.6865 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -7.4867e-16 | -1.9461e-11 | 8.6422e-08 | 0.00034011 | -0.0010915 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936
Vesta-SE 29mm | BXRV | DR | 1830H | 10K0 | A | A | Vesta-SE 29mm-1830HA | BXRV-DR-1830H-10K0-A-13-SE | 40 | 2350 | 2500 | 11471.04 | 107.0459 | 45.6 | -16.2 | -1.8156e-12 | 1.1117e-08 | -2.3776e-05 | 0.022236 | 36.6492 | -7.4867e-16 | -1.9461e-11 | 8.6422e-08 | 0.00034011 | -0.0010915 | 0 | 1.0278e-09 | -4.2139e-06 | -0.00096864 | 1.0268 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 4.1036e-11 | -1.2425e-07 | -0.0002536 | 1.2869 | 1728.7037 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936 | 3.8085e-09 | -3.3506e-05 | 0.1099 | -158.3043 | 84341.6936
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!
[7 empty] | - | ---0--13 |  |  |  |  | #DIV/0!

## Lumen Ratio Tables (hidden)
Nominal CCT+CRI | Code | Warm | Nominal
1800K-2700K, 90 CRI | 1827G | 1800 | 2700
1800K-2700K, 95CRI | 1827H | 1800 | 2700
1800K-3000K, 90 CRI | 1830G | 1800 | 3000
1800K-3000K, 95 CRI | 1830H | 1800 | 3000